## Contact information
Bioresources physical and contract information |  | Wessex Water
Purpose | This spreadsheet provides information about water and sewerage company sewage sludge production sites (known as wastewater treatment works (WwTWs) and sludge treatment facilities (STCs). Its purpose is to facilitate conversations between companies and third parties to explore market opportunities. It does not include all information that may be defined within a contract. Companies are required to provide data under the columns marked mandatory. Any additional information can be provided on a voluntary basis. | The water and sewerage companies' areas in England and Wales
Water and Sewerage Company name | Wessex Water
Financial Year the historical data relates to | 2022-23
Date the spreadsheet was published | 2023-05-31
Contact details for anyone wanting to discuss commercial opportunities arising from this information | Bioresources@wessexwater.co.uk
Any further details regarding any future procurement | Please contact the email address above with any enquiries. Any procurement exercises will be accompanied with an update to this information providing further details.
Brief description of geographical boundary of data included here | Wessex Water region comprises the counties of Somerset, Dorset, Wiltshire and parts of Hampshire and Gloucestershire. It is predominantly rural but includes the city of Bristol and the conurbation of Poole and Bournemouth.
Brief description of level of data assurance | The tables are based on regulatory reported data supplemented with further information from company records. The data provided has been subjected to internal review and also auditted by an independent 3rd party.
Summary of significant changes since the most recently previously published version of the information and this version | The AMP7 capital investment programme continues to progress, with this including completion of a number of Phosphorus removal schemes at WwTWs in the previous financial year. The information published has been updated to reflect any changes in site process type and associated sludge production.
Key: Input cell colour

## WwTW
WwTW Sludge Production Sites for population served greater than 2000 | [5 empty] | Wessex Water
This table sets out the data required for wastewater treatment works which are where raw sludge is produced. Each wastewater treatment works serving the equivalent of a population of 2000 and more must be filled in on a new row in the spreadsheet.
Company commentary (optional) | In line with the Ofwat definitions/guidance, WwTWs that transport sludge to another WwTW for treatment have been excluded. This includes sites that transport to Keynsham and Saltford WwTWs, as sludge from these is discharged to the sewer system to Avonmouth WwTW.
| Section A: Identifier |  |  |  | Section B: Sludge production information | [5 empty] | Section C: Sludge quality |  |  |  | Section D: Site particulars | [5 empty] | Section E. Transport
Column number | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 5 | 6 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 5 | 6 | 1 | 2 | 3 | 4 | 5 | 6
Specification | WwTW site name | WwTW location grid ref latitude | WwTW location grid ref longitude | Unique Asset ID | Quantity of raw sludge produced per year (only sites where sludge leaves assets under network plus price control) | Estimated or Measured quantity of sludge | Average Dry Solids of sludge produced by works % | Estimated or Measured %dry solids sludge | Typical volatile solids content | WwTW classification | Inlet Screened <=6mm | De-gritting at inlet works | Sludge screened | Further information (unusual sludge constituents, planning constraints, freshness etc.) | Is site co-located with a Sludge Treatment Centre (STC)? | Co-located site ID | Operating hours of the site | What is the maximum size (capacity) of tanker that can enter the works? | What is the minimum requirement for tanker sludge collection frequency? | Other | Principal destination for sludge | Percent of sludge going to principal destination | Main transport mode to principal destination | Secondary destination for sludge | Percent of sludge going to secondary destination | Main transport mode to secondary destination
Input type | Text | Grid ref latitude | Grid ref longitude | Text | Quantity (TDS) | Estimated/ Measured | % | Estimated/ Measured | % | Text (see definitions page) | Yes/No | Yes/No | Yes/No | Text (as appropriate) | Yes/No | Text | Days/Time (24 hr clock) | Tanker size, m3 | Time | Text (as appropriate) | Text | % | Text | Text | % | Text
Decimal places |  | 6 figure | 6 figure |  | Section B: Sludge production information 1: 0; Section B: Sludge production information 3: 2; Section B: Sludge production information 5: 2 | [7 empty] | 0 |  |  |  | 0 |  |  | 0
Mandatory requirement | Yes | Yes | Yes | Yes | Section B: Sludge production information 1: Yes; Section B: Sludge production information 3: Yes | [10 empty] | Yes |  | Yes
| ALMONDSBURY | 51.562 | -2.578 | 13006 | 28.2164 | Measured | 3.449% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 | 14 | 4 weekly |  | AVONMOUTH | 82.63% | Road - liquid | RATFYN | 15.29% | Road - liquid
| ALVESTON | 51.5809 | -2.5463 | 13007 | 26.1253 | Measured | 4.031% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 | 14 | 3 weekly |  | AVONMOUTH | 97.17% | Road - liquid | TROWBRIDGE | 1.803% | Road - liquid
| AMESBURY | 51.1674 | -1.7826 | 13008 | 457.0143 | Measured | 5.66% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 27 | Weekly |  | RATFYN | 72% | Road - liquid | TROWBRIDGE | 18.45% | Road - liquid
| AVONMOUTH | 51.5115 | -2.673 | 13013 | 18733.2724 | Measured | 0.11% | Measured | Not recorded | Pipeline | Yes | Yes | Yes |  | Yes | 11800 | 24 hours per day | 27 | n/a |  | AVONMOUTH | 100% | Pipeline
| SALTFORD | 51.4145 | -2.4444 | 13016 | 0 | Estimated | 3% | Estimated | Not recorded | Pipeline | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 18 | n/a |  | AVONMOUTH | 100% | Pipeline
| BISHOPS LYDEARD | 51.0525 | -3.1668 | 13022 | 20.028 | Measured | 2.342% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | 3 weekly |  | TAUNTON | 87.2% | Road - liquid | AVONMOUTH | 10.47% | Road - liquid
| BLACKHEATH | 50.739 | -2.1467 | 13024 | 66.6891 | Measured | 2.364% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 24 hours per day | 27 | 3 weekly |  | BERRY HILL | 90.92% | Road - liquid | YEOVIL (VALE ROAD) | 7.864% | Road - liquid
| BOWERHILL | 51.3598 | -2.1394 | 13028 | 214.5829 | Measured | 1.988% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | TROWBRIDGE | 91.38% | Road - liquid | KEYNSHAM | 5.876% | Road - liquid
| BOX | 51.4183 | -2.2554 | 13029 | 22.9964 | Measured | 4.17% | Measured | Not recorded | Road - liquid | No | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 4 weekly |  | TROWBRIDGE | 91.7% | Road - liquid | KEYNSHAM | 8.304% | Road - liquid
| BRADFORD-ON-AVON | 51.3412 | -2.2662 | 13031 | 198.4609 | Measured | 2.636% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | Weekly |  | TROWBRIDGE | 92.69% | Road - liquid | KEYNSHAM | 6.632% | Road - liquid
| CHILTON TRINITY | 51.1428 | -2.9973 | 13034 | 1802.9915 | Measured | 4.714% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 24 hours per day | 27 | Daily |  | AVONMOUTH | 70.55% | Road - liquid | TAUNTON | 25.33% | Road - liquid
| BRUTON | 51.1039 | -2.4701 | 13039 | 33.8501 | Measured | 3.282% | Measured | Not recorded | Road - liquid | No | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 3 weekly |  | YEOVIL (VALE ROAD) | 49.74% | Road - liquid | TROWBRIDGE | 46.22% | Road - liquid
| BUTLEIGH | 51.0998 | -2.6758 | 13043 | 28.7087 | Measured | 3.591% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 5 weekly |  | TROWBRIDGE | 50.54% | Road - liquid | YEOVIL (VALE ROAD) | 32.9% | Road - liquid
| CALNE | 51.4436 | -2.0335 | 13044 | 277.2763 | Measured | 2.41% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | TROWBRIDGE | 54.9% | Road - liquid | MALMESBURY | 33.71% | Road - liquid
| CAM VALLEY | 51.3285 | -2.4301 | 13045 | 97.4304 | Measured | 1.741% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | KEYNSHAM | 88.83% | Road - liquid | TROWBRIDGE | 10.79% | Road - liquid
| CANNINGTON | 51.148 | -3.0469 | 13047 | 44.5951 | Measured | 3.802% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | 4 weekly |  | TAUNTON | 76.64% | Road - liquid | AVONMOUTH | 10.37% | Road - liquid
| CASTLE CARY | 51.0843 | -2.5291 | 13048 | 52.3301 | Measured | 3.051% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Fortnightly |  | YEOVIL (VALE ROAD) | 47.08% | Road - liquid | TROWBRIDGE | 43.57% | Road - liquid
| CHARFIELD | 51.637 | -2.4055 | 13054 | 122.189 | Measured | 2.458% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | AVONMOUTH | 99.85% | Road - liquid | TAUNTON | 0.154% | Road - liquid
| CHARMOUTH | 50.7396 | -2.8915 | 13056 | 40.3049 | Measured | 1.642% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | weekly |  | YEOVIL (VALE ROAD) | 86.19% | Road - liquid | TAUNTON | 8.24% | Road - liquid
| CHEDDAR | 51.2697 | -2.7907 | 13057 | 349.6362 | Measured | 2.468% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 27 | Weekly |  | AVONMOUTH | 84.32% | Road - liquid | TAUNTON | 13.36% | Road - liquid
| CHEW STOKE | 51.3558 | -2.6179 | 13058 | 154.8068 | Measured | 2.412% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | AVONMOUTH | 73.23% | Road - liquid | KEYNSHAM | 25.73% | Road - liquid
| CHILCOMPTON | 51.2738 | -2.5011 | 13061 | 67.2152 | Measured | 7.064% | Measured | Not recorded | Road - liquid | No | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | N/A |  | KEYNSHAM | 88.7% | Road - liquid | AVONMOUTH | 6.623% | Road - liquid
| CHIPPENHAM | 51.4407 | -2.1191 | 13064 | 763.4666 | Measured | 4.335% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 24 hours per day | 27 | Daily |  | TROWBRIDGE | 77.5% | Road - liquid | MALMESBURY | 10.78% | Road - liquid
| CHRISTCHURCH | 50.7422 | -1.7666 | 13066 | 1161.9446 | Measured | 4.074% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 24 hours per day | 27 | Weekly |  | BERRY HILL | 63.11% | Road - liquid | RATFYN | 36.4% | Road - liquid
| COLEFORD | 51.2386 | -2.4436 | 13069 | 24.7517 | Measured | 2.736% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | 4 weekly |  | TROWBRIDGE | 92.09% | Road - liquid | KEYNSHAM | 7.355% | Road - liquid
| COLERNE | 51.4347 | -2.256 | 13070 | 24.4886 | Measured | 3.694% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | 6 weekly |  | TROWBRIDGE | 77.79% | Road - liquid | KEYNSHAM | 22.21% | Road - liquid
| COMPTON BASSETT | 51.4311 | -1.9772 | 13075 | 37.6934 | Measured | 1.875% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | TROWBRIDGE | 89.23% | Road - liquid | RATFYN | 4.97% | Road - liquid
| CORFE MULLEN | 50.7896 | -2.0099 | 13078 | 140.3308 | Measured | 2.78% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | BERRY HILL | 83.33% | Road - liquid | YEOVIL (VALE ROAD) | 7.99% | Road - liquid
| CREWKERNE | 50.8833 | -2.7821 | 13084 | 79.2511 | Measured | 2.598% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | 3 Weekly |  | TAUNTON | 71.72% | Road - liquid | YEOVIL (VALE ROAD) | 14.81% | Road - liquid
| DEVIZES | 51.35 | -2.0085 | 13090 | 219.4402 | Measured | 2.478% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | TROWBRIDGE | 91.22% | Road - liquid | KEYNSHAM | 7.944% | Road - liquid
| DORCHESTER | 50.7106 | -2.4127 | 13096 | 492.3894 | Measured | 3.435% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 27 | 3 times a week |  | YEOVIL (VALE ROAD) | 70.68% | Road - liquid | BERRY HILL | 24.37% | Road - liquid
| DOWNTON | 50.983 | -1.7502 | 13099 | 199.4636 | Measured | 6.574% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Fortnightly |  | BERRY HILL | 57.64% | Road - liquid | RATFYN | 41.74% | Road - liquid
| EAST COKER | 50.9134 | -2.6499 | 13105 | 48.8722 | Measured | 3.449% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 5 weekly |  | YEOVIL (VALE ROAD) | 99.03% | Road - liquid | TAUNTON | 0.9729% | Road - liquid
| EVERCREECH | 51.1408 | -2.5099 | 13118 | 22.9132 | Measured | 2.443% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 | 18 | Weekly |  | TROWBRIDGE | 69.46% | Road - liquid | YEOVIL (VALE ROAD) | 15.45% | Road - liquid
| FORDINGBRIDGE | 50.9179 | -1.7972 | 13128 | 225.3015 | Measured | 6.854% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | BERRY HILL | 51.53% | Road - liquid | RATFYN | 46.96% | Road - liquid
| FROME | 51.2384 | -2.3268 | 13131 | 783.9969 | Measured | 4.413% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 24 hours per day | 27 | Weekly |  | TROWBRIDGE | 90.45% | Road - liquid | KEYNSHAM | 8.173% | Road - liquid
| GILLINGHAM | 51.0321 | -2.2814 | 13132 | 264.3569 | Measured | 4.16% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | TROWBRIDGE | 68.66% | Road - liquid | RATFYN | 12.28% | Road - liquid
| GLASTONBURY | 51.1418 | -2.7365 | 13134 | 516.1275 | Measured | 3.596% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 24 hours per day | 27 | Weekly |  | AVONMOUTH | 71.82% | Road - liquid | TAUNTON | 17.98% | Road - liquid
| HOLDENHURST | 50.7564 | -1.8139 | 13152 | 3953.031 | Measured | 1.952% | Measured | Not recorded | Pipeline | Yes | Yes | No |  | No |  | 24 hours per day | 27 | n/a |  | HOLDENHURST | 100% | Pipeline
| HURDCOTT | 51.1027 | -1.7639 | 13158 | 88.1542 | Measured | 8.82% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 4 weekly |  | RATFYN | 85.42% | Road - liquid | TROWBRIDGE | 10.94% | Road - liquid
| ILCHESTER | 51.0026 | -2.6913 | 13160 | 57.9394 | Measured | 6.26% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 24 hours per day | 18 | Bi-monthly |  | YEOVIL (VALE ROAD) | 89.08% | Road - liquid | TAUNTON | 10.92% | Road - liquid
| ILMINSTER | 50.942 | -2.9177 | 13161 | 79.0745 | Measured | 4.305% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 24 hours per day | 27 | Fortnightly |  | TAUNTON | 78.17% | Road - liquid | YEOVIL (VALE ROAD) | 20.28% | Road - liquid
| KEEVIL | 51.3318 | -2.1033 | 13164 | 31.6301 | Measured | 1.999% | Measured | Not recorded | Road - liquid | No | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | TROWBRIDGE | 100% | Road - liquid
| KEYNSHAM | 51.4167 | -2.4846 | 13165 | 5.9981 | Measured | 9.822% | Measured | Not recorded | Pipeline | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 7 | n/a |  | AVONMOUTH | 100% | Pipeline
| KINGSTON SEYMOUR | 51.409 | -2.8787 | 13171 | 1358.8165 | Measured | 4.089% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | AVONMOUTH | 94.55% | Road - liquid | TAUNTON | 4.83% | Road - liquid
| KINSON | 50.7669 | -1.8796 | 13172 | 717.1378 | Measured | 3.721% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 24 hours per day | 27 | Daily |  | BERRY HILL | 97.28% | Road - liquid | YEOVIL (VALE ROAD) | 1.957% | Road - liquid
| LANGPORT | 51.0404 | -2.8374 | 13175 | 121.9104 | Measured | 3.471% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | TAUNTON | 80.61% | Road - liquid | YEOVIL (VALE ROAD) | 9.928% | Road - liquid
| LAVINGTON | 51.2951 | -2.004 | 13177 | 50.3908 | Measured | 2.293% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Fortnightly |  | TROWBRIDGE | 94.24% | Road - liquid | KEYNSHAM | 4.849% | Road - liquid
| LYTCHETT MINSTER | 50.7311 | -2.0468 | 13190 | 105.0165 | Measured | 1.013% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | BERRY HILL | 96.54% | Road - liquid | YEOVIL (VALE ROAD) | 2.277% | Road - liquid
| MALMESBURY | 51.5821 | -2.0813 | 13193 | 293.4432 | Measured | 5.316% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 27 | Weekly |  | AVONMOUTH | 68.36% | Road - liquid | KEYNSHAM | 25.64% | Road - liquid
| MARNHULL COMMON | 50.9618 | -2.3332 | 13199 | 271.1555 | Measured | 6.893% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 18 | 4 weekly |  | N/A | #N/A | Road - liquid | N/A | #N/A | Road - liquid
| MARTOCK | 50.9709 | -2.7835 | 13201 | 82.8491 | Measured | 3.122% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | 3 weekly |  | YEOVIL (VALE ROAD) | 70.87% | Road - liquid | TAUNTON | 24.7% | Road - liquid
| MELKSHAM | 51.3755 | -2.1477 | 13204 | 455.2927 | Measured | 3.503% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | TROWBRIDGE | 91.01% | Road - liquid | KEYNSHAM | 5.281% | Road - liquid
| MERE | 51.0828 | -2.2691 | 13207 | 23.1958 | Measured | 4.241% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 4 weekly |  | TROWBRIDGE | 66.84% | Road - liquid | YEOVIL (VALE ROAD) | 23.96% | Road - liquid
| MERRIOTT | 50.9119 | -2.7811 | 13208 | 56.725 | Measured | 6.313% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 3 weekly |  | YEOVIL (VALE ROAD) | 100% | Road - liquid
| MICHAELWOOD | 51.6549 | -2.4394 | 13209 | 18.0937 | Measured | 2.564% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | 3 weekly |  | AVONMOUTH | 96.99% | Road - liquid | TROWBRIDGE | 3.007% | Road - liquid
| MILBORNE PORT | 50.9548 | -2.4521 | 13211 | 37.4463 | Measured | 2.696% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Bi-monthly |  | YEOVIL (VALE ROAD) | 95.17% | Road - liquid | TAUNTON | 2.963% | Road - liquid
| MINEHEAD | 51.197 | -3.4478 | 13215 | 455.6777 | Measured | 3.783% | Measured | Not recorded | Road - cake | Yes | Yes | No |  | Yes | 11794 | 06:00 - 18:00 | 27 | n/a |  | TAUNTON | 46.76% | Road - cake | AVONMOUTH | 45.77% | Road - cake
| NETHER STOWEY | 51.156 | -3.1316 | 13219 | 10.7918 | Measured | 1.144% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | 182 days |  | TAUNTON | 91.53% | Road - liquid | AVONMOUTH | 6.613% | Road - liquid
| NETHERAVON | 51.2341 | -1.7818 | 13220 | 49.8128 | Measured | 4.522% | Measured | Not recorded | Road - liquid | No | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Three weekly |  | RATFYN | 75.59% | Road - liquid | TROWBRIDGE | 12.14% | Road - liquid
| NORTH PETHERTON | 51.09 | -3.0012 | 13223 | 33.4547 | Measured | 2.643% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | Fortnightly |  | TAUNTON | 75.82% | Road - liquid | AVONMOUTH | 12.52% | Road - liquid
| PALMERSFORD | 50.8048 | -1.8585 | 13232 | 1034.2815 | Measured | 3.172% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 27 | Daily |  | BERRY HILL | 100% | Road - liquid
| PAULTON | 51.3158 | -2.4952 | 13235 | 198.2142 | Measured | 2.867% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | KEYNSHAM | 88.49% | Road - liquid | TROWBRIDGE | 11.18% | Road - liquid
| PEWSEY | 51.3336 | -1.7768 | 13237 | 147.8834 | Measured | 2.796% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | Weekly |  | RATFYN | 69.74% | Road - liquid | TROWBRIDGE | 26.95% | Road - liquid
| POOLE | 50.7423 | -1.989 | 13242 | 3934.6781 | Measured | 6.131% | Measured | Not recorded | Pipeline | Yes | Yes | Yes |  | Yes | 11795 | 24 hours per day | 27 | n/a |  | POOLE | 100% | Pipeline
| PORTBURY WHARF | 51.4914 | -2.7386 | 13243 | 587.9324 | Measured | 2.475% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | AVONMOUTH | 99.16% | Road - liquid | TAUNTON | 0.8402% | Road - liquid
| POTTERNE | 51.3287 | -2.0176 | 13244 | 281.7247 | Measured | 3.392% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | TROWBRIDGE | 82.37% | Road - liquid | RATFYN | 10.63% | Road - liquid
| PUCKLECHURCH | 51.4798 | -2.4171 | 13248 | 27.6524 | Measured | 2.172% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 3 weekly |  | KEYNSHAM | 88.77% | Road - liquid | AVONMOUTH | 8.047% | Road - liquid
| RADSTOCK | 51.2952 | -2.4317 | 13252 | 486.3363 | Measured | 4.364% | Measured | Not recorded | Road - liquid | No | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | TROWBRIDGE | 67.48% | Road - liquid | KEYNSHAM | 32.21% | Road - liquid
| RATFYN | 51.1849 | -1.7751 | 13253 | 294.2579 | Measured | 6.027% | Measured | Not recorded | Pipeline | Yes | Yes | Yes |  | Yes | 11796 | 24 hours per day | 18 | n/a |  | RATFYN | 100% | Pipeline
| REDWICK | 51.5728 | -2.6535 | 13254 | 118.3568 | Measured | 2.876% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Fortnightly |  | AVONMOUTH | 99.82% | Road - liquid | TAUNTON | 0.1791% | Road - liquid
| RINGWOOD | 50.8309 | -1.7872 | 13255 | 202.209 | Measured | 2.535% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | BERRY HILL | 95.48% | Road - liquid | RATFYN | 2.966% | Road - liquid
| ROWDE | 51.3636 | -2.0471 | 13257 | 104.1483 | Measured | 4.401% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | 4 weekly |  | TROWBRIDGE | 91.67% | Road - liquid | KEYNSHAM | 4.603% | Road - liquid
| SALISBURY | 51.0578 | -1.7734 | 13258 | 2501.887 | Measured | 8.54% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | RATFYN | 73.75% | Road - liquid | BERRY HILL | 18.59% | Road - liquid
| SHAFTESBURY | 50.9929 | -2.1983 | 13264 | 409.3235 | Measured | 6.877% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 18 | Weekly |  | TROWBRIDGE | 66.93% | Road - liquid | YEOVIL (VALE ROAD) | 30.09% | Road - liquid
| SHARPNESS | 51.7105 | -2.4827 | 13266 | 104.771 | Measured | 1.865% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | AVONMOUTH | 99.81% | Road - liquid | KEYNSHAM | 0.1895% | Road - liquid
| SHEPTON MALLET | 51.1941 | -2.5731 | 13267 | 541.3341 | Measured | 4.255% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 27 | Weekly |  | KEYNSHAM | 45.96% | Road - liquid | TROWBRIDGE | 24.04% | Road - liquid
| SHERBORNE | 50.9373 | -2.5256 | 13268 | 207.8958 | Measured | 3.927% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | YEOVIL (VALE ROAD) | 98.43% | Road - liquid | TAUNTON | 1.176% | Road - liquid
| SHILLINGSTONE | 50.897 | -2.2355 | 13271 | 28.1114 | Measured | 3.243% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 3 Weekly |  | YEOVIL (VALE ROAD) | 97.25% | Road - liquid | BERRY HILL | 1.534% | Road - liquid
| SOMERTON | 51.0649 | -2.7376 | 13278 | 90.6296 | Measured | 3.153% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 4 weekly |  | TAUNTON | 74.72% | Road - liquid | YEOVIL (VALE ROAD) | 18.63% | Road - liquid
| SOUTH PETHERTON | 50.9533 | -2.8112 | 13281 | 96.994 | Measured | 4.835% | Measured | Not recorded | Road - liquid | No | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 4 weekly |  | TAUNTON | 63.79% | Road - liquid | YEOVIL (VALE ROAD) | 18.76% | Road - liquid
| STURMINSTER NEWTON | 50.9259 | -2.2928 | 13297 | 167.8202 | Measured | 5.86% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 3 weekly |  | YEOVIL (VALE ROAD) | 93.91% | Road - liquid | BERRY HILL | 6.088% | Road - liquid
| SUTTON BENGER | 51.506 | -2.0689 | 13298 | 172.8034 | Measured | 5.893% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Fortnightly |  | MALMESBURY | 55.23% | Road - liquid | TROWBRIDGE | 33.63% | Road - liquid
| TARRANT CRAWFORD | 50.8265 | -2.1195 | 13304 | 1286.5648 | Measured | 8.474% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | 2 times a week |  | BERRY HILL | 63.54% | Road - liquid | YEOVIL (VALE ROAD) | 34.77% | Road - liquid
| TAUNTON | 51.0168 | -3.0191 | 13305 | 2213.5534 | Measured | 5.646% | Measured | Not recorded | Pipeline | Yes | Yes | Yes |  | Yes | 11798 | 24 hours per day | 27 | n/a |  | TAUNTON | 100% | Pipeline
| TETBURY | 51.6327 | -2.1536 | 13307 | 236.0955 | Measured | 4.499% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | Weekly |  | MALMESBURY | 70.42% | Road - liquid | TROWBRIDGE | 16.86% | Road - liquid
| THINGLEY | 51.4225 | -2.1651 | 13308 | 291.5381 | Measured | 2.008% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | 3 times a week |  | TROWBRIDGE | 91.3% | Road - liquid | KEYNSHAM | 5.849% | Road - liquid
| THORNBURY | 51.6282 | -2.5382 | 13309 | 160.3773 | Measured | 2.281% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | AVONMOUTH | 98.53% | Road - liquid | KEYNSHAM | 1.03% | Road - liquid
| THORNFORD | 50.9116 | -2.5797 | 13310 | 86.5186 | Measured | 3.167% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | YEOVIL (VALE ROAD) | 97.59% | Road - liquid | TROWBRIDGE | 1.031% | Road - liquid
| SWANAGE | 51.1773 | -3.3422 | 19541 | 161.2253 | Measured | 1.549% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 | 7 | Weekly |  | BERRY HILL | 90.76% | Road - liquid | YEOVIL (VALE ROAD) | 6.968% | Road - liquid
| SWANAGE | 50.6074 | -1.9517 | 13313 | 0 | Estimated | 3% | Estimated | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | BERRY HILL | 90.76% | Road - liquid | YEOVIL (VALE ROAD) | 6.968% | Road - liquid
| TISBURY | 51.0677 | -2.0631 | 13318 | 141.713 | Measured | 8.251% | Measured | Not recorded | Road - liquid | Yes | Yes | Yes |  | Yes | 11799 | 24 hours per day | 27 | n/a |  | TISBURY | 100% | Pipeline
| TROWBRIDGE | 51.3279 | -2.2182 | 13324 | 1491.8375 | Measured | 4.852% | Measured | Not recorded | Pipeline | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | BERRY HILL | 60.02% | Road - liquid | TROWBRIDGE | 39.98% | Road - liquid
| WAREHAM | 50.6984 | -2.0927 | 13325 | 71.4494 | Measured | 2.386% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | BERRY HILL | 100% | Road - liquid
| WARMINSTER | 51.192 | -2.1827 | 13330 | 337.7114 | Measured | 2.994% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | TROWBRIDGE | 69.19% | Road - liquid | RATFYN | 16.76% | Road - liquid
| WELLINGTON | 50.9899 | -3.2415 | 13332 | 430.2549 | Measured | 4.13% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | TAUNTON | 80.67% | Road - liquid | AVONMOUTH | 17.21% | Road - liquid
| WELLS | 51.2034 | -2.6672 | 13336 | 420.0493 | Measured | 3.208% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | Yes | 11791 | 06:00 - 18:00 | 27 | n/a |  | AVONMOUTH | 71.88% | Road - cake | TAUNTON | 18.49% | Road - cake
| WEST HUNTSPILL | 51.2155 | -3.0028 | 13338 | 1108.87 | Measured | 3.498% | Measured | Not recorded | Road - cake | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | Weekly |  | AVONMOUTH | 82.54% | Road - liquid | TAUNTON | 17.46% | Road - liquid
| WESTBURY | 51.2717 | -2.1875 | 13342 | 300.5529 | Measured | 2.9% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Daily (weekdays) |  | TROWBRIDGE | 93.76% | Road - liquid | KEYNSHAM | 5.263% | Road - liquid
| WEYMOUTH | 50.5889 | -2.4778 | 13346 | 1305.0553 | Measured | 4.839% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | 2 times a week |  | BERRY HILL | 48% | Road - liquid | TAUNTON | 30.71% | Road - liquid
| WICK ST LAWRENCE | 51.3932 | -2.9171 | 13349 | 360.1542 | Measured | 2.842% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | AVONMOUTH | 89.05% | Road - liquid | TAUNTON | 8.029% | Road - liquid
| WIMBORNE | 50.7932 | -1.9657 | 13350 | 260.2419 | Measured | 1.533% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | n/a |  | BERRY HILL | 89.3% | Road - liquid | RATFYN | 5.468% | Road - liquid
| WINCANTON | 51.0451 | -2.4123 | 13351 | 219.0163 | Measured | 4.135% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | 3 Weekly |  | TROWBRIDGE | 45.72% | Road - liquid | YEOVIL (VALE ROAD) | 19.54% | Road - liquid
| WINSCOMBE | 51.3161 | -2.8618 | 13352 | 114.4504 | Measured | 3.454% | Measured | Not recorded | Road - liquid | No | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 7 | N/A |  | AVONMOUTH | 94.4% | Road - liquid | TAUNTON | 4.072% | Road - liquid
| WINSLEY | 51.3383 | -2.2912 | 13353 | 13.385 | Measured | 4.247% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 18 | 7 Weekly |  | TROWBRIDGE | 99.05% | Road - liquid | KEYNSHAM | 0.9518% | Road - liquid
| WISHFORD | 51.1025 | -1.8788 | 13354 | 39.4949 | Measured | 8.455% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Fortnightly |  | RATFYN | 84.19% | Road - liquid | TROWBRIDGE | 13.14% | Road - liquid
| WIVELISCOMBE | 51.0384 | -3.304 | 13359 | 26.221 | Measured | 2.762% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | 2 times a week |  | TAUNTON | 81.54% | Road - liquid | AVONMOUTH | 5.765% | Road - liquid
| WOOL | 50.6856 | -2.2536 | 13360 | 115.5603 | Measured | 1.38% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | BERRY HILL | 86.43% | Road - liquid | YEOVIL (VALE ROAD) | 9.303% | Road - liquid
| ROYAL WOOTTON BASSETT | 51.5311 | -1.895 | 13361 | 270.7478 | Measured | 3.723% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Fortnightly |  | TROWBRIDGE | 51.36% | Road - liquid | MALMESBURY | 40.3% | Road - liquid
| WOTTON UNDER EDGE | 51.6339 | -2.373 | 13364 | 102.3512 | Measured | 4.434% | Measured | Not recorded | Road - liquid | No | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | Fortnightly |  | AVONMOUTH | 100% | Road - liquid
| WRINGTON | 51.3601 | -2.7708 | 13366 | 19.6384 | Measured | 1.77% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 14 | n/a |  | WRINGTON | 100% | Pipeline
| YEOVIL (PEN MILL) | 50.9445 | -2.6088 | 13515 | 1436.6655 | Measured | 6.906% | Measured | Not recorded | Pipeline | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 14 | Fortnightly |  | YEOVIL (VALE ROAD) | 93.38% | Road - liquid | TAUNTON | 6.621% | Road - liquid
| PORLOCK | 51.2148 | -3.5969 | 13522 | 0.12918 | Measured | 0.92% | Measured | Not recorded | Road - liquid | Yes | No | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | 4 weekly |  | AVONMOUTH | 88.95% | Road - liquid | TAUNTON | 7.534% | Road - liquid
| LYNEHAM | 51.499 | -1.9634 | 19155 | 202.5001 | Measured | 4.019% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 | 27 | Daily |  | MALMESBURY | 51.76% | Road - liquid | TROWBRIDGE | 41.13% | Road - liquid
| WESTON-SUPER-MARE | 51.3053 | -2.9911 | 19156 | 2466.6474 | Measured | 7.025% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | AVONMOUTH | 96.09% | Road - liquid | TAUNTON | 3.355% | Road - liquid
| CHARD | 50.902 | -2.9404 | 19539 | 438.9589 | Measured | 4.783% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | 3 times a week |  | TAUNTON | 85.2% | Road - liquid | YEOVIL (VALE ROAD) | 10.12% | Road - liquid
| BRIDPORT | 50.7131 | -2.752 | 19705 | 479.7211 | Measured | 5.958% | Measured | Not recorded | Road - liquid | Yes | Yes | No |  | No |  | 06:00 - 18:00 Mon - Fri | 27 | Weekly |  | YEOVIL (VALE ROAD) | 74.4% | Road - liquid | BERRY HILL | 17.43% | Road - liquid

## Small WwTW
Smaller WwTW (less than 2000 population equivalent served) |  |  |  |  | Wessex Water
This table sets out the data required for WwTWs serving a population of less than 2000. Each WwTW must be filled in on a new row in the spreadsheet. Please note that any WwTw that is desludged by intermittently emptied by tankering the contents to the start of another larger sewage treatment works should not be included in this list. The sludge removed in this way should be accounted for in the sludge produced at the larger receiving sewage treatment works.
Company commentary (optional) | In line with the Ofwat definitions/guidance, WwTWs that transport sludge to another WwTW for treatment have been excluded. This includes sites that transport to Keynsham and Saltford WwTWs, as sludge from these is discharged to the sewer system to Avonmouth WwTW.
| Section A: Identifier |  |  |  | Section B: Sludge production information
Column number | 1 | 2 | 3 | 4 | 1 | 2
Specification | WwTW site name | WwTW location (grid ref latitude) | WwTW location (grid ref longitude) | Unique Asset ID | Quantity (TDS) per year Average amount of sludge produced per year: Either stated as <70 tonnes per annum or a more accurate estimate if available | WwTW classification
Input type | Text | Grid ref latitude | Grid ref longitude | Text | Quantity (TDS) | See definitions page
Decimal places |  | 6 figure | 6 figure |  | 0
Mandatory requirement | Yes | Yes | Yes | Yes | Yes
| ALL CANNINGS | 51.3585 | -1.9288 | 13001 | 16.2508 | SB - Cphos
| ALWESTON | 50.9257 | -2.4737 | 13004 | 1.1578 | SB
| ASH PRIORS | 51.058 | -3.2122 | 13005 | 0.040282 | SB
| ASHILL | 50.955 | -2.9672 | 13010 | 2.1498 | SB
| TOLLER PORCORUM | 50.7802 | -2.6168 | 17143 | 1.3965 | SB
| WELLOW | 51.3222 | -2.3677 | 19623 | 8.3763 | SB
| TRENT | 50.9619 | -2.5835 | 17297 | 7.7557 | SB
| ASHILL | 50.9455 | -2.9829 | 13012 | 0.10603 | SB
| ASHWICKE | 51.432 | -2.3087 | 13015 | 0.054927 | SB
| AUST | 51.6076 | -2.616 | 13017 | 8.9979 | SB
| BARFORD ST MARTIN | 51.078 | -1.9147 | 13021 | 7.9427 | SB - CPhos
| BECKINGTON | 51.2659 | -2.2932 | 13027 | 9.2617 | SB
| BISHOPS CAUNDLE | 50.9119 | -2.4244 | 13032 | 4.1615 | SB
| BOURTON | 51.0666 | -2.3064 | 13036 | 52.7909 | SB - CPhos
| BRADFORD ON TONE | 51.0043 | -3.1743 | 13037 | 23.8905 | SB
| WESTWOOD | 51.3264 | -2.2804 | 19733 | 9.26 | SB
| BROADMAYNE | 50.6802 | -2.3775 | 13050 | 18.0871 | CSAS
| BROADWAY | 50.9359 | -2.9518 | 13051 | 12.6383 | SB - CPhos
| BRUTON | 51.1138 | -2.478 | 13055 | 0.31682 | SB
| CERNE ABBAS | 50.7981 | -2.476 | 13060 | 37.2623 | SB - CPhos
| ABBOTSBURY | 50.6628 | -2.5831 | 10306 | 47.7778 | SB - Cphos
| CHAFFCOMBE | 50.8885 | -2.9227 | 13062 | 0.16453 | SB
| TOCKINGTON | 51.5702 | -2.5769 | 13517 | 17.8839 | SB
| FOVANT | 51.0701 | -2.0018 | 13156 | 54.3103 | SB - CPhos
| CHARLTON HORETHORNE | 51.0021 | -2.4718 | 13065 | 6.6368 | SB
| CHIDEOCK | 50.7266 | -2.815 | 13071 | 5.7179 | SB
| CHILTHORNE DOMER | 50.9736 | -2.6698 | 13072 | 0.63364 | SB
| CHILTHORNE DOMER | 50.9704 | -2.6731 | 13073 | 5.0273 | SB
| CHILTHORNE DOMER | 50.9749 | -2.6725 | 13077 | 1.2899 | SB
| CHILTON CANTELO | 51.0051 | -2.6158 | 13079 | 19.75 | SB
| CHITTERNE | 51.1941 | -2.0142 | 13082 | 0.09409 | SB
| COLLINGBOURNE DUCIS | 51.2735 | -1.6497 | 13083 | 9.6905 | SB
| COMBE FLOREY | 51.0745 | -3.2108 | 13086 | 0.26054 | SB
| COMBE ST NICHOLAS | 50.8939 | -2.9685 | 13087 | 9.3972 | SB
| CORFE CASTLE | 50.6475 | -2.0551 | 13088 | 24.97 | SB - CPhos
| CORSCOMBE | 50.8484 | -2.6825 | 13092 | 4.7028 | SB
| CRANBORNE | 50.9154 | -1.9102 | 13094 | 8.8322 | SB - CPhos
| CRANMORE | 51.1898 | -2.4404 | 13095 | 3.7848 | SB
| WESTBURY-SUB-MENDIP | 51.2304 | -2.7149 | 19637 | 0.0090456 | SB
| CROMHALL | 51.6031 | -2.4556 | 13098 | 36.9207 | CSAS
| CROSCOMBE | 51.1981 | -2.5977 | 13101 | 0.77181 | SB
| CROWCOMBE | 51.1219 | -3.2321 | 13104 | 2.9162 | SB
| DILTON MARSH | 51.2494 | -2.2294 | 13107 | 25.958 | SB
| UPAVON | 51.2871 | -1.8053 | 17408 | 28.3971 | SB - CPhos
| URCHFONT | 51.3166 | -1.9448 | 18714 | 16.1848 | SB
| DITCHEAT | 51.1156 | -2.5303 | 13113 | 8.0399 | SB
| DONYATT | 50.9244 | -2.9419 | 13114 | 2.3663 | SB
| DONYATT | 50.9157 | -2.9496 | 13116 | 0.11315 | SB
| DOWLISH WAKE | 50.9139 | -2.8941 | 13117 | 2.9127 | SB
| DRAYCOTT | 51.2509 | -2.7571 | 13119 | 0.47394 | SB
| EAST CHINNOCK | 50.9135 | -2.722 | 13120 | 7.459 | SB
| EAST KNOYLE | 51.0699 | -2.1657 | 13124 | 13.0992 | SB - CPhos
| EAST LYNG | 51.0538 | -2.9618 | 13125 | 0.74679 | SB
| EAST LYNG | 51.0592 | -2.9532 | 13129 | 0.039011 | SB
| EDFORD | 51.2363 | -2.471 | 13130 | 18.165 | SB
| EDMONDSHAM | 50.9011 | -1.9114 | 13139 | 0.15497 | SB
| ERLESTOKE | 51.2871 | -2.0464 | 13142 | 18.3146 | SB - CPhos
| ETCHILHAMPTON | 51.3395 | -1.9291 | 13144 | 0.68603 | SB
| EVERLEIGH | 51.2768 | -1.7134 | 13145 | 1.4132 | SB
| EVERSHOT | 50.8373 | -2.6006 | 13146 | 0.064268 | SB
| FITZHEAD | 51.0465 | -3.2497 | 13148 | 1.8847 | SB
| FIVEHEAD | 50.9982 | -2.9153 | 13149 | 12.8658 | SB
| FRESHFORD | 51.3437 | -2.3026 | 13157 | 22.6258 | SB
| HALSE | 51.045 | -3.2254 | 13162 | 1.2518 | SB
| HARDINGTON MANDEVILLE | 50.9069 | -2.7056 | 13163 | 0.43405 | SB
| HASELBURY PLUCKNETT | 50.8986 | -2.7508 | 13167 | 16.2678 | SB
| HATCH BEAUCHAMP | 50.9762 | -2.993 | 13168 | 4.5514 | SB
| HAZELBURY BRYAN | 50.8832 | -2.3624 | 13173 | 17.2889 | SB - CPhos
| HILMARTON | 51.4802 | -1.98 | 13174 | 8.403 | SB
| HINDON | 51.0939 | -2.121 | 13176 | 3.0305 | SB
| HULLAVINGTON | 51.5443 | -2.151 | 13178 | 18.0829 | SB
| UPTON NOBLE | 51.1491 | -2.3979 | 17968 | 1.2417 | SB
| ILTON | 50.9627 | -2.9151 | 13181 | 22.6566 | SB - CPhos
| IWERNE MINSTER | 50.9244 | -2.1995 | 13182 | 14.5177 | SB
| WEDMORE | 51.2298 | -2.8057 | 19617 | 15.1543 | SB
| KILTON | 51.1897 | -3.198 | 13187 | 0.047476 | SB
| KILVE | 51.191 | -3.2259 | 13191 | 1.2037 | SB
| LACOCK | 51.4085 | -2.1187 | 13192 | 15.8288 | SB
| LANGFORD BUDVILLE | 51.0026 | -3.2663 | 13196 | 1.8924 | SB
| LANGTON HERRING | 50.6432 | -2.5524 | 13202 | 1.2858 | CSAS
| LEIGH ON MENDIP | 51.2238 | -2.4333 | 13205 | 4.8647 | SB
| LEYHILL | 51.6329 | -2.4493 | 13212 | 11.3234 | SB
| LONGBRIDGE | 50.9237 | -2.8313 | 13214 | 12.213 | CSAS
| LONGBURTON | 50.9088 | -2.4957 | 13221 | 5.5133 | SB
| LYDEARD ST LAWRENCE | 51.0814 | -3.2432 | 13222 | 1.041 | SB
| LYDFORD | 51.0828 | -2.6275 | 13226 | 5.219 | SB
| MAIDEN BRADLEY | 51.1462 | -2.2722 | 13227 | 5.2501 | SB
| MAIDEN NEWTON | 50.7738 | -2.5618 | 13228 | 51.7136 | SB - CPhos
| MARDEN | 51.319 | -1.8712 | 13229 | 19.0548 | SB - CPhos
| MEARE | 51.1723 | -2.787 | 13230 | 7.6239 | CSAS
| MELLS | 51.2387 | -2.384 | 13231 | 3.0533 | SB
| MILBORNE ST ANDREW | 50.7701 | -2.2799 | 13238 | 12.243 | SB
| MILVERTON | 51.026 | -3.2374 | 13239 | 21.8498 | SB
| NORTH CADBURY | 51.0442 | -2.531 | 13249 | 8.8404 | SB
| NORTH NIBLEY | 51.6701 | -2.3893 | 13250 | 9.4839 | SB
| NORTON ST PHILIP | 51.3033 | -2.3345 | 13256 | 13.321 | SB
| NUNNEY | 51.2168 | -2.3794 | 13260 | 20.8518 | SB
| NYNEHEAD | 50.9957 | -3.2158 | 13262 | 2.5897 | SB
| OAKHILL | 51.2333 | -2.5027 | 13275 | 19.3694 | SB
| OSMINGTON MILLS | 50.6374 | -2.3729 | 13276 | 0.074986 | SB
| OVER STRATTON | 50.9298 | -2.8001 | 13277 | 5.1877 | SB
| PIDDLEHINTON | 50.7663 | -2.3961 | 13280 | 2.779 | SB
| WANSTROW | 51.1754 | -2.4078 | 19556 | 3.0021 | SB
| PILTON | 51.1625 | -2.5956 | 13282 | 14.0052 | SB - CPhos
| WICKWAR | 51.6033 | -2.3937 | 19783 | 25.5123 | SB
| PUDDLETOWN | 50.7538 | -2.3545 | 13287 | 9.1391 | SB
| PUNCKNOWLE | 50.6999 | -2.658 | 13288 | 29.8737 | SB - CPhos
| RODE | 51.2901 | -2.2817 | 13290 | 31.2594 | SB - CPhos
| SANDHILL PARK | 51.0555 | -3.2034 | 13291 | 4.8052 | SB
| SEEND | 51.3498 | -2.0683 | 13292 | 20.6841 | SB - CPhos
| SHREWTON | 51.1827 | -1.8961 | 13294 | 58.1332 | SB - CPhos
| SHROTON | 50.9042 | -2.2 | 13295 | 2.2183 | SB
| SIXPENNY HANDLEY | 50.9474 | -2.0001 | 13300 | 5.8244 | SB
| SOUTH PERROTT | 50.8633 | -2.754 | 13301 | 11.4956 | SB
| SOUTH WRAXALL | 51.3747 | -2.237 | 13303 | 1.5192 | SB
| SPARKFORD | 51.0241 | -2.5652 | 13306 | 34.6236 | SB - CPhos
| STANDERWICK | 51.2542 | -2.2561 | 13311 | 0.024528 | SB
| STANTON ST BERNARD | 51.3586 | -1.8748 | 13312 | 0.70869 | SB
| STOGURSEY | 51.1842 | -3.1396 | 13315 | 12.3482 | SB
| STOKE ST GREGORY | 51.0416 | -2.9455 | 13316 | 17.6993 | SB
| STOURPAINE | 50.8865 | -2.2076 | 13317 | 7.1006 | SB
| STOURTON CAUNDLE | 50.9299 | -2.4002 | 13320 | 0.62078 | SB - CPhos
| STUBHAMPTON | 50.9201 | -2.1175 | 13321 | 1.0297 | SB
| STUDLAND | 50.6537 | -1.9626 | 13322 | 2.1467 | SB
| SUTTON BINGHAM SUPPLY | 50.903 | -2.6325 | 13323 | 0.27156 | SB
| SUTTON MONTIS | 51.0132 | -2.5453 | 13329 | 1.714 | SB
| SYDLING ST NICHOLAS | 50.7863 | -2.5244 | 13331 | 3.198 | SB
| TEMPLECOMBE | 51.0033 | -2.4086 | 13339 | 51.4364 | SB - CPhos
| TILSHEAD | 51.2282 | -1.9398 | 13341 | 1.6911 | SB
| TINTINHULL ASH | 50.9831 | -2.7233 | 13347 | 14.4467 | SB

## STC
Sludge Treatment Centres
This table sets out the data required for sludge treatment and sludge handling centres. Each centre must be filled in on a new row in the spreadsheet.
Company commentary (optional) | The data is published against each STC as requested, but should be interpreted with caution as it does not account for logistical constraints. For this reason the total annual capacity shortfall figures are provided as 'floating' values allocated on a regional basis, and it should be noted that this includes an aspiration to operate with a greater operational headroom. Minehead and West Huntspill operate as dewatering centres, with cake transported to Taunton for digestion. Vale Rd also transports a proportion of its cake to Taunton. This should be considered when analysing the data to not 'double count' sludge that is dewatered at one site, but treated at another.
| Section A: Identifier |  |  |  | Section B: Treated sludge product description | [8 empty] | Section C: Nature of Material accepted |  |  | Section D: Treated Product Quality |  |  |  | Section E: Renewable Energy Subsidies |  | Section F: Further information | Section G. Transport | [7 empty] | Section H: Headroom capacity (monthly) | [11 empty] | Section I: Tradeable capacity (monthly) | [11 empty] | Section J: Total capacity (monthly) | [11 empty] | Section K: Capacity Shortfall (monthly) | [11 empty] | Section L: Headroom capacity (annual) | [9 empty] | Section M: Tradeable capacity (annual) | [9 empty] | Section N: Total capacity (annual) | [9 empty] | Section O: Capacity Shortfall (annual)
Column number | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 1 | 2 | 3 | 1 | 2 | 3 | 4 | 1 | 2 | 1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Specification | Sludge Treatment Centre (STC) name | STC location (grid ref latitude) | STC location (grid ref longitude) | Unique Asset ID | End product quantity per year | Estimated or Measured quantity of treated sludge produced | Product Dry Solids % | Estimated or Measured product DS% | Sludge screened at STC | Usual operating hours of the site | Acceptance criteria for input material | Type of site | Type of treatment (if applicable) | Dry solids range accepted in to site % | Can site receive sludge not de-gritted? | Can site receive sludge from sites without screening? | Is the site producing untreated sludge? | Is the site producing conventionally treated sludge? | Is the site producing enhanced treated sludge? | Is the site compliant with and certified under the Biosolids Assurance Scheme? | Renewable Energy Incentive Scheme(s) (e.g. RHI, Green Gas) | Year due to end (e.g. 2030) | Further information (planning constraints, operational defects that could impact on product quality etc.) | Principal destination for sludge | Unique ID for principal destination | Percent of sludge going to principal destination | Main transport mode to principal destination | Secondary destination for sludge | Unique ID for secondary destination | Percent of sludge going to secondary destination | Main transport mode to secondary destination | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | 2022-23 | Reporting year +1 | Reporting year +2 | Reporting year +3 | Reporting year +4 | Reporting year +5 | Reporting year +6 | Reporting year +7 | Reporting year +8 | Reporting year +9 | 2022-23 | Reporting year +1 | Reporting year +2 | Reporting year +3 | Reporting year +4 | Reporting year +5 | Reporting year +6 | Reporting year +7 | Reporting year +8 | Reporting year +9 | 2022-23 | Reporting year +1 | Reporting year +2 | Reporting year +3 | Reporting year +4 | Reporting year +5 | Reporting year +6 | Reporting year +7 | Reporting year +8 | Reporting year +9 | 2022-23 | Reporting year +1 | Reporting year +2 | Reporting year +3 | Reporting year +4 | Reporting year +5 | Reporting year +6 | Reporting year +7 | Reporting year +8 | Reporting year +9
Input type | Text | Grid ref latitude | Grid ref longitude | Text | Quantity (TDS) | Estimated / Measured | % | Estimated / Measured | Yes / No | Days of week / Time (24 hr clock) | Yes / No | Thickening centre, Dewatering centre, Treatment centre or Incinerator. | Liming, Conventional AD, Advanced AD or other |  | Yes / No | Yes / No | Yes / No | Yes / No | Yes / No | Yes / No / NA | Text | Year |  | Text | Text | % | Text | Text | Text | % | Text | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS | TDS
Decimal places |  | 6 figure | 6 figure |  | 0 |  | 2 | [6 empty] | 0 | [7 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mandatory requirement | Yes | Yes | Yes | Yes | Yes |  | Yes | [6 empty] | Yes | [6 empty] | Yes | Yes |  | Yes | Yes |  | Yes |  |  |  |  | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| AVONMOUTH | 51.5115 | -2.673 | 11800 | 30536.89 | Measured | 24.87% | Measured | Yes | 24hrs |  | Treatment Centre | Advanced AD | 1 - 8 | Yes | Yes | No | No | Yes | Yes | No |  |  | Land | N/A | 98.85% | Road - treated cake | Taunton | 11798 | 0.6959% | Road - raw cake | 85.5415 | 89.2829 | 90.2716 | 70.0651 | 71.3082 | 84.2668 | 76.5277 | 93.139 | 100.106 | 87.9884 | 84.4327 | 85.969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3041.6667 | 3041.6667 | 3041.6667 | 3041.6667 | 3041.6667 | 3041.6667 | 3041.6667 | 3041.6667 | 3041.6667 | 3041.6667 | 3041.6667 | 3041.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1400.61 | 1018.8989 | 632.4164 | 319.3655 | 3.1842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36500 | 36500 | 36500 | 36500 | 36500 | 36500 | 36500 | 36500 | 36500 | 36500
| BERRY HILL | 50.769 | -1.85 | 13018 | 7838.8979 | Measured | 22.8% | Measured | Yes | 24hrs |  | Treatment Centre | Conventional AD | 1 - 8 | Yes | Yes | No | Yes | No | Yes | No |  |  | Land | N/A | 100% | Road - treated cake |  |  |  |  | 136.3558 | 142.3197 | 143.8958 | 111.686 | 113.6675 | 134.324 | 121.9877 | 148.4665 | 159.5722 | 140.2562 | 134.5884 | 137.0373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016.1021 | 1624.1572 | 2712.6151 | 3855.4958 | 3555.5206 | 1598.0466 | 1267.324 | 2562.5652 | 2197.9434 | 1815.0906 | 0 | 0 | 569.8996 | 2055.6445 | 1665.6768 | 0 | 0 | 374.8347 | 0 | 0 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950
| MINEHEAD | 51.197 | -3.4478 | 11794 | 534.0818 | Measured | 20.49% | Measured | Yes | 08:00 - 16:00 |  | Dewatering Centre |  | 1 - 8 | Yes | No | Yes | No | No | No | No |  | Dewatered cake taken to Taunton for digestion | Taunton | 11798 | 93.4% | Road - raw cake | West Huntspill | 11791 | 6.604% | Road - raw cake | 56.1856 | 58.6431 | 59.2925 | 46.0204 | 46.8369 | 55.3484 | 50.2652 | 61.1759 | 65.752 | 57.7928 | 55.4574 | 56.4665 | 42.6529 | 44.5184 | 45.0114 | 34.936 | 35.5558 | 42.0173 | 38.1584 | 46.4412 | 49.9151 | 43.873 | 42.1 | 42.8661 | 121.6667 | 121.6667 | 121.6667 | 121.6667 | 121.6667 | 121.6667 | 121.6667 | 121.6667 | 121.6667 | 121.6667 | 121.6667 | 121.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 779.9182 | 669.2366 | 556.3413 | 548.7647 | 541.1123 | 533.3835 | 525.5773 | 517.6931 | 509.73 | 501.6873 | 646.3977 | 508.0457 | 366.9266 | 357.4559 | 347.8904 | 338.2293 | 328.4716 | 318.6163 | 308.6625 | 298.6091 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460 | 1460
| POOLE | 50.7423 | -1.989 | 11795 | 1320.7874 | Measured | 23.7% | Measured | Yes | 24hrs |  | Treatment Centre | Conventional AD | 1 - 8 | Yes | Yes | No | Yes | No | Yes | No |  |  | Land | N/A | 100% | Road - treated cake |  |  |  |  | 143.9095 | 150.2038 | 151.8671 | 117.873 | 119.9643 | 141.7651 | 128.7454 | 156.6911 | 168.4119 | 148.026 | 142.0442 | 144.6288 | 59.6053 | 62.2124 | 62.9013 | 48.8214 | 49.6876 | 58.7172 | 53.3246 | 64.8993 | 69.7539 | 61.3103 | 58.8328 | 59.9033 | 790.8333 | 790.8333 | 790.8333 | 790.8333 | 790.8333 | 790.8333 | 790.8333 | 790.8333 | 790.8333 | 790.8333 | 790.8333 | 790.8333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1209.8793 | 1714.1302 | 3126.8528 | 1018.5699 | 868.1213 | 714.6637 | 558.137 | 398.4797 | 0 | 0 | 813.6431 | 709.9693 | 1502.6086 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9490 | 9490 | 9490 | 9490 | 9490 | 9490 | 9490 | 9490 | 9490 | 9490
| RATFYN | 51.1849 | -1.7751 | 11796 | 3544.9256 | Measured | 30.1% | Measured | Yes | 07:00 - 17:00 |  | Treatment Centre | Liming | 1 - 30 | Yes | Yes | No | Yes | No | Yes | No |  |  | Land | N/A | 100% | Road - treated cake |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 9.3882 | 9.7988 | 9.9073 | 7.6896 | 7.8261 | 9.2483 | 8.3989 | 10.222 | 10.9866 | 9.6567 | 9.2665 | 9.4351 | 0 | 0 | 315.8594 | 752.0966 | 697.0585 | 640.9197 | 583.6581 | 525.2513 | 465.6763 | 404.9098 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380 | 4380
| TAUNTON | 51.0168 | -3.0191 | 11798 | 6475.639 | Measured | 23.5% | Measured | Yes | 24hrs |  | Treatment Centre | Conventional AD | 1 - 30 | Yes | Yes | No | Yes | No | Yes | No |  |  | Land | N/A | 100% | Road - treated cake |  |  |  |  | 180.9099 | 188.8225 | 190.9135 | 148.1792 | 150.8082 | 178.2142 | 161.8469 | 196.9778 | 211.7121 | 186.0848 | 178.565 | 181.8141 | 14.5496 | 15.186 | 15.3541 | 11.9172 | 12.1287 | 14.3328 | 13.0165 | 15.8419 | 17.0269 | 14.9658 | 14.361 | 14.6223 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2284.361 | 2154.8483 | 2022.7452 | 1755.3727 | 1485.3264 | 1412.5797 | 791.6055 | 717.3965 | 2284.9455 | 2209.2449 | 341.6693 | 173.3027 | 1.5688 | 0 | 0 | 0 | 0 | 0 | 13.9291 | 0 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950
| TROWBRIDGE | 51.3279 | -2.2182 | 11799 | 6816.4621 | Measured | 22.3% | Measured | Yes | 24hrs |  | Treatment Centre | Advanced AD | 1 - 8 | Yes | Yes | No | No | Yes | Yes | No |  |  | Land | N/A | 100% | Road - treated cake |  |  |  |  | 151.7239 | 158.36 | 160.1136 | 124.2736 | 126.4784 | 149.4631 | 135.7363 | 165.1995 | 177.5568 | 156.0639 | 149.7573 | 152.4822 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1943.5379 | 1807.2087 | 1668.1529 | 0 | 0 | 2548.2628 | 2475.1954 | 2401.3974 | 2326.8614 | 2251.58 | 0 | 0 | 0 | 0 | 0 | 356.2416 | 261.2541 | 165.3166 | 68.4198 | 0 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950 | 10950
| WEST HUNTSPILL | 51.2155 | -3.0028 | 11791 | 2567.8876 | Measured | 29.6% | Measured | No | 08:00 - 16:00 |  | Treatment Centre | Liming | 1 - 30 | Yes | Yes | Yes | Yes | No | Yes | No |  | Can dewater, with dewatered cake taken to Taunton for digestion, and can also lime. | Taunton | 11798 | 72.78% | Road - raw cake | Land | N/A | 27.22% | Road - treated cake | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 243.3333 | 243.3333 | 243.3333 | 243.3333 | 243.3333 | 243.3333 | 243.3333 | 243.3333 | 243.3333 | 243.3333 | 243.3333 | 243.3333 | 23.7798 | 24.8199 | 25.0947 | 19.4775 | 19.8231 | 23.4255 | 21.2741 | 25.8919 | 27.8286 | 24.46 | 23.4716 | 23.8987 | 0 | 0 | 0 | 0 | 114.6799 | 92.4667 | 70.0314 | 47.3717 | 24.4854 | 1.3703 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2920 | 2920 | 2920 | 2920 | 2920 | 2920 | 2920 | 2920 | 2920 | 2920
| YEOVIL (VALE ROAD) | 50.9492 | -2.6025 | 13367 | 2968.31 | Measured | 27.6% | Measured | No | 07:00 - 17:00 |  | Treatment Centre | Liming | 1 - 8 | Yes | No | Yes | Yes | No | Yes | No |  | Can dewater, with dewatered cake taken to Taunton for digestion, and can also lime. | Taunton | 11798 | 75.95% | Road - raw cake | Taunton | 11798 | 23.57% | Road - treated cake | 179.6024 | 187.4578 | 189.5337 | 147.1083 | 149.7182 | 176.9262 | 160.6772 | 195.5542 | 210.182 | 184.7399 | 177.2744 | 180.5001 | 101.1032 | 105.5252 | 106.6938 | 82.8113 | 84.2805 | 99.5966 | 90.4497 | 110.0829 | 118.3173 | 103.9952 | 99.7927 | 101.6085 | 486.6667 | 486.6667 | 486.6667 | 486.6667 | 486.6667 | 486.6667 | 486.6667 | 486.6667 | 486.6667 | 486.6667 | 486.6667 | 486.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2287.69 | 2139.2745 | 1983.4382 | 1950.7126 | 1917.6597 | 2468.2763 | 2434.5591 | 2400.5047 | 2366.1097 | 2331.3708 | 1397.197 | 1204.2568 | 1001.6697 | 959.1264 | 916.1577 | 1456.7592 | 1412.9268 | 1368.6561 | 1323.9427 | 1278.7821 | 5840 | 5840 | 5840 | 5840 | 5840 | 5840 | 5840 | 5840 | 5840 | 5840
| FLOATING (NORTH) | [108 empty] | 4808.1687 | 5443.4501 | 6088.0016 | 9840.8567 | 10313.3902 | 6766.8908 | 7153.9347 | 7544.849 | 7939.6725 | 8367.8903
| FLOATING (SOUTH) | [108 empty] | 1439.9706 | 2041.667 | 640.5828 | 1311.6336 | 1578.7663 | 2237.531 | 2945.3953 | 2412.6498 | 5078.5763 | 5871.2211
| FLOATING (WEST) | [108 empty] | 1002.2539 | 1069.019 | 1007.1194 | 1126.5661 | 1248.7918 | 1372.2397 | 2044.4221 | 2170.3513 | 668.9689 | 783.5002

## Contracts
Contract Information |  |  | Contracts |  | Wessex Water
We require each company to publish contract information on those services that are provided by a person other than the company (including an Associated Company (as defined by Condition A (Interpretation and Construction) of the company’s licence)) for its own bioresources services (treatment, transport and/or recycling service). It should not include contract information where the company is providing a bioresources service to other companies. Contract information should not include contracts for bioresources related “goods” (for example chemical supplies), or outsourcing contracts where the company retains full control of the bioresources service (for example regular equipment maintenance contracts). Contracts with associated companies and joint ventures where the company is one of those involved should be included. The focus of the market information is where companies are contracting with third parties to provide a complete transport, treatment and/or recycling service. This template should be populated for all contracts that are agreed from 30 April 2017. Whilst there is no requirement on companies to publish information on contracts agreed prior to this date, we would encourage companies to provide details of all active contracts.
Company commentary (optional) | Wessex have a service contract with a supplier to haul sludge cake from treatment centres to disposal sites. The activity is fully directed by Wessex Water staff who instruct the supplier where to transport the cake - i.e. it is managed by Wessex Water. The same supplier spreads the bioresources, again under Wessex Water's direction. Ofwat guidance published 11 October 2017, Bioresources market information guidance, Section 3.5 Successful contracts, relating to the information we have to publish along with the volume of our sludge production, advises “Contract information should not include contracts for bioresources related “goods” (for example chemical supplies), or outsourcing contracts where the company retains full control of the bioresources service (for example regular equipment maintenance contracts). The focus of the market information is where companies are contracting with third parties to provide a complete transport, treatment and/or recycling service.” As Wessex Water retains full control of the bioresources service we have not included the above contract in our published data.
| Section A: Identifier |  | Section B: Bioresource service |  | Section C: Commercial information
Column number | 1 | 2 | 1 | 2 | 1 | 2 | 3 | 4
Specification | Contract reference | Contract title | Description of service | Quantity | Contract start date | Contract end date | Term of contract | Other
Input type | Unique reference corresponding to reference used elsewhere (e.g. OJEU) |  | Transport, treatment, recycling, disposal, a combination of these four, or other. | Tonnes dry solids per year, or m3, or whatever is relevant | Month/Year | Month/Year |  | To include more information on services covered by contract, for example geographical area
Mandatory requirement | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes

## Definitions
Definitions
Section | Col no | WWTW Sludge Production Site
A | 1 | WwTW site name | Name of the wastewater treatment works, and if not otherwise clear, the town it serves.
| 2 | WwTW location grid ref latitude | Identifying Location to at least 5 digits
| 3 | WwTW location grid ref longitude | Identifying Location to at least 5 digits
| 4 | Unique Asset ID | This is a unique ID to identify the site. The unique ID should be consistent across years. If an asset becomes inactive (for example moth balled/ closed down) then its ID should not be reassigned to a new asset later. If a site is listed as a WWTW co-located with a sludge treatment centre then it should have two unique ID’s, one for the WWTW tab and one in the STC tab so the two functions of the asset can be identified individually.
B | 1 | Quantity of raw sludge produced per year | Average amount of sludge produced per year, measured in tonnes of dry solids. Please note this is dry tonnes and not wet tonnes. This information is to provide an indication of the size of the market opportunity that the site represents. The list of sites should include only those where sludge leaves the assets which fall under network plus i.e. do not list small sites where sludge is taken to the inlet of a larger wastewater treatment works for settlement in the larger site’s facilities. At the larger sites the total sludge produced through indigenous and imported means means must be provided.
| 2 | Estimated or Measured quantity of sludge | "Estimated" or "Measured" to indicate whether the quantity is estimated or measured. This information is to provide an indication of accuracy of and confidence in quantity data.
| 3 | Average Dry Solids of sludge produced by works % | Measure of the thickness for loading purposes. Defined as the percentage by weight of a sample that remains after drying at around 105 Degrees Celcius. This information is to provide an indication of the thickness for loading purposes.
| 4 | Estimated or Measured %dry solids sludge | "Estimated" or "Measured" to indicate whether the dry solids percentage is estimated or measured. This information is to provide an Indication of accuracy of and confidence in dry solids data.
| 5 | Typical volatile solids content | The annual average volatile solids content of the sludge, expressed as the percentage of the wet sample. This information is to proivde an indication of the quality of the sludge.
| 6 | WwTW classification | See the table of classifications below. This information is to provide an indication of the quality of sludge.
C | 1 | Inlet Screened <=6mm | "Yes" or "No" to indicate whether sewage is screened at the inlet to remove rags. This information is to provide an indication of the quality of the sludge.
| 2 | De-gritting at inlet works | "Yes" or "No" to indicate whether sewage has grit removed at the inlet. This information is to provide an indication of the quality of the sludge.
| 3 | Sludge screened | "Yes" or "No" to indicate if the sludge has been screened in addition to or instead of a preliminary wastewater treatment screening process. This information is to provide an indication of the quality of the sludge.
| 4 | Further information (unusual sludge constituents, planning constraints, freshness etc.)
D | 1 | Is site co-located with a Sludge Treatment Centre (STC)? | "Yes" or "No" to indicate whether the wastewater treatment works is co-located with a STC. Sludge produced on a site with a sludge treatment centre may not be so readily accessible for transport to another site.
| 2 | Co-located site ID | The unique ID of the STC that this WWTW is collocated with. Leave blank if the site is not co-located.
| 3 | Operating hours of the site | This information is to indicate when site is accessible.
| 4 | What is the maximum size of tanker (capacity) that can enter the works? | This information is to indicate constraints on access to site.
| 5 | What is the minimum requirement for tanker sludge collection frequency? | This information is to indicate constraints on access to site.
| 6 | Other | Any information that may impact on the ability to treat and dispose of the sludge (unusual sludge constituents, planning constraints, freshness etc.)
E* | 1, 4 | Principal/Secondary destination for sludge | The site which received the most / second-most sludge from this site. Enter ‘Land’, ‘Incineration’ or ‘Other’ if sludge is not sent to another site. If it is exported to another WaSC then enter the site's name. The site name must match the relevant STC/WwTW name used elsewhere.
| 2, 5 | Percent of sludge going to principal/secondary destination | The percent of sludge by weight which went to the principal / secondary destinations for this site.
| 3, 6 | The main transport mode to principal/secondary destination. | Whether the sludge was transported by road (liquid, raw cake or treated cake), pipeline, or other mode.
Section | Col no | Sludge Treatment Centre
A | 1 | Sludge Treatment Centre (STC) name | The name of the site (and the town it relates to). Also include any planned new sites so that it enables data in G, H and I to correspond to this. Where it is doubtful whether a site will be a bioresources site, exclude it.. Also exclude any decommissioned or abandoned sites, and mothballed or unused assets on sites where they could not immediately be brought back into service.
| 2 | STC location (grid ref latitude) | Identifying Location to at least 5 digits
| 3 | STC location (grid ref longitude) | Identifying Location to at least 5 digits
| 4 | Unique Asset ID | This is a unique ID to identify the site. The unique ID should be consistent across years. If an asset becomes inactive (for example moth balled/ closed down) then its ID should not be reassigned to a new asset later. If a site is listed as a WWTW co-located with an STC then it should have two unique ID’s, one for the WWTW tab and one in the STC tab so the two functions of the asset can be identified individually.
B | 1 | End product quantity per year | The average amount of treated sludge produced, expressed in tonnes of dry solids per year. Please note this is dry tonnes and not wet tonnes. It should include all output, including sludge originating a co-located WwTW and imported sludge. This information is to provide an indicatation of the size of the market opportunity the site’s product represents.
| 2 | Estimated or Measured quantity of treated sludge produced | This should be "Estimated" or "Measured" to give an indication of accuracy of and confidence in quantity data.
| 3 | Product Dry Solids % | Measure of the thickness for loading purposes. Defined as the percentage by weight of a sample that remains after drying at around 105 DegC.
| 4 | Estimated or Measured product DS% | This should be "Estimated" or "Measured to give an indication of accuracy of and confidence in dry solids data.
| 5 | Sludge screened at STC | "Yes" or "No" to indicate whether there is a sludge screening process at the site. This information is to give an indication of sludge product quality.
| 6 | Usual operating hours of the site | This informaton is to indicate when site is accessible.
| 7 | Acceptance criteria for input material | "Yes" or "No" to indicate whether there are specific acceptance criteria for material brought on to site, e.g. must be digested. This information is to give an understanding of what material can be taken to the site.
| 8 | Type of site | "Thickening centre", "Dewatering centre", "Treatment centre", or "incinerator". This is to give an understanding of what material can be taken to the site. Sludge treatment centre site type definitions: • Thickening site – reduces water content of mixed indigenous and imported sludge to less than 10% dry solids; • Dewatering site – reduces the water of indigenous sludge and/or imported sludge to over 10% dry solids; • Sludge treatment centre – produces a treated product of appropriate quality for recycling or disposal.; • Incinerator – incinerates either raw or treated sludge. This information is to understand what activities are carried out on the site.
| 9 | Type of treatment (if applicable) | If the 'Type of site' is a 'Treatment centre' this should be categorised as either 'Liming', 'Conventional AD', 'Advanced AD' or 'Other', otherwise leave the cell blank. If more than one type of treatment is used, base your response on the primary method. The definitions used should match Table 8D of RAG 4.09.
C | 1 | Dry solids range accepted in to site % | Expressed as % Dry solids. This information is to give an understanding of what material can be taken to the site.
| 2 | Can site receive sludge not de-gritted? | This should be "Yes" or "No". This information is to give an understanding of what material can be taken to the site.
| 3 | Can site receive sludge from sites without screening? | This should be "Yes" or "No". This information is to give an understanding of what material can be taken to the site.
D | 1 | Is site producing untreated sludge? | This should be "Yes" or "No". It should be "Yes" if the site operated dewatering process only. This information is to give an indication of sludge product quality.
| 2 | Is site producing conventionally treated sludge? | This should be "Yes" or "No". The definition of conventional is as per safe sludge matrix. Conventionally treated sludge gas been subjected to defined treatment processes and standards that ensure at least 99% of pathogens have been destroyed. This information is to give an indication of sludge product quality.
| 3 | Is site producing enhanced treated sludge? | This should be "Yes" or "No". The definition of enhanced is as per the safe sludge matrix. Enhanced treatment is a term used to describe processes which are capable of virtually eliminating any pathogens which may be present in the original sludge. Enhanced treated sludge will be free from Salmonella and will have been treated so as to ensure that 99.9999% pathogens have been destroyed (a 6 log reduction). This information is to give an indication of sludge product quality.
| 4 | Is the site compliant and certified under the Biosolids Assurance scheme? | This should be "Yes", "No" or "NA". The Biosolids Assurance Scheme combines legislative and non-legislative requirements and best practice. It is audited and certified by an independent body - NSF Certification. An entry of "na" for "not applicable" is appropriate where a site produces untreated sludge. This information is to give an indication of sludge product quality.
E | 1 | Renewable Energy Incentive Scheme (e.g. RHI, Green Gas) | This is the name of any incentive schemes at the site. If more than one scheme applies, these should be listed, e.g. RHI, Green Gas
| 2 | Year due to end (e.g. 2030) | This is final year that the scheme(s) will end, inclusive. For example, if the incentive will end in October 2030, then this should be reported as 2030. If more than one scheme applies, these should be listed respectively, e.g. 2022, 2030
F | 1 | Further information | Further information (planning constraints, operational defects that could impact on product quality etc.)
G*** | 1, 5 | Principal/Secondary destination for sludge | The name of the site which received the most/second-most sludge from this site. Enter ‘Land’, ‘Incineration’ or ‘Other’ if sludge is not sent to another site. If it is exported to another WaSC, enter the site name. The site name must match the relevant STC/WwTW name used elsewhere.
| 2, 6 | Unique ID for principal/secondary destination | This is the unique ID of the site which received the most / second-most sludge from this site. Enter ‘Land’, ‘Incineration’ or ‘Other’ if sludge is not sent to another site. If it is exported to another WaSC, use their unique ID. The unique ID must match the relevant STC/WwTW unique ID used elsewhere.
| 3, 7 | Percent of sludge going to principal/secondary destination | The percent of sludge by weight which went to the principal / secondary destinations for this site.
| 4, 8 | Main transport mode to principal/secondary destination | Whether the sludge was transported by road (liquid, raw cake or treated cake), pipeline or other mode.
H | 1 to 12 | These are the months following publication of this information. For example, if a company publishes this information in July 2021, it should provide data for September 2021 to August 2022 inclusive. NB: This table collects information on your headroom at each bioresources site. Capacity is in tonnes dry solids input to the site in any form (liquid or cake). Include dewatering sites and sludge treatment centres only. | The capacity which is not used for normal operations, but which is not available for trading because it is reserved as operational headroom. Where headroom is not associated with any particular site and it isn't clear which site would usually have this headroom, please enter one or more lines at the bottom of the table with the site name 'Floating - ' and the group of sites it could be delivered from. Do not attribute it separately to those sites in this table, to avoid double counting.
I | 1 to 12 | These are the months following publication of this information. For example, if a company publishes this information in July 2021, it should provide data for September 2021 to August 2022 inclusive. NB: This table collects information on your ability to trade into each bioresources site. Capacity is in tonnes dry solids input to the site in any form (liquid or cake). Include dewatering sites and sludge treatment centres only. | The capacity which could be available to trade into this site on a guaranteed basis for the given month. Assume that the trade would be a steady amount throughout the month. Capacity available to trade is that which is not used for indigenous sludge and isn’t reserved as operational headroom. Where you have 'floating' tradable capacity which could be based at more than one site and you have little preference as to which it should be delievered from, please enter the site name as 'Floating: ' and the group of sites which it could be delivered from. Do not attribute it separately to those sites in this table, to avoid double counting.
J | 1 to 12 | These are the months following publication of this information. For example, if a company publishes this information in July 2021, it should provide data for September 2021 to August 2022 inclusive. NB: This table collects information on your current and forecast capacity at each bioresources site. Capacity is in tonnes dry solids input to the site in any form (liquid or cake). Include dewatering sites and sludge treatment centres only. | The maximum amount of sludge you would realistically expect to be able to treat in the given month, if an unlimited amount of sludge was available. Assume your usual digester retention time for each site. Include capacity which could be released if you increased working hours. If you schedule a certain amount of site downtime, remove this from the total capacity. Also remove any allowance you make for unplanned downtime.
K | 1 to 12 | These are the months following publication of this information. For example, if a company publishes this information in July 2021, it should provide data for September 2021 to August 2022 inclusive. NB: This table collects information on your shortfall at each bioresources site. Capacity is in tonnes dry solids input to the site in any form (liquid or cake). Include dewatering sites and sludge treatment centres only. | Companies can indicate any shortfall in desired capacity for each site here. Where a shortfall is not associated with any particular site, please enter one or more lines at the bottom of the table with the site name 'Floating - ' and the group of sites it could be delivered from. Do not attribute it separately to those sites in this table, to avoid double counting. It is a shortfall in desired capacity, because the intention is to indicate the possible market opportunity for participants to meet a demand for additional capacity. It is possible to have both headroom capacity and a shortfall. For example, - company A might consider it needs headroom of 2,000 TDS. It has actual headroom of 1,000 TDS. It therefore enters a shortfall of 1,000 TDS; - company B might consider it needs headroom of 2,000 TDS, but has none. If therefore enters a shorfall of 2,000 TDS; - company C might project sludge production exceeding its total capacity by 1,000 TDS. It considers it needs headroom above production of 2,000 TDS. It therefore enters as shortfall of 3,000 TDS.
L | 1 to 10 | Financial years. The first year reported should correspond to the data reported in the rest of this spreadsheet. The other columns relate to the following nine years. The intention is that companies report a rolling-series of ten-year projections. NB: This table collects information on your current and forecast headroom at each bioresources site. Capacity is in tonnes dry solids input to the site in any form (liquid or cake). Include dewatering sites and sludge treatment centres only. | The capacity which is not used for normal operations, but which is not available for trading because it is reserved as operational headroom. Where headroom is not associated with any particular site and it isn't clear which site would usually have this headroom, please enter one or more lines at the bottom of the table with the site name 'Floating - ' and the group of sites it could be delivered from. Do not attribute it separately to those sites in this table, to avoid double counting.
M | 1 to 10 | Financial years. The first year reported should correspond to the data reported in the rest of this spreadsheet. The other columns relate to the following nine years. The intention is that companies report a rolling-series of ten-year projections. NB: This table collects information on your current and forecast headroom at each bioresources site. Capacity is in tonnes dry solids input to the site in any form (liquid or cake). Include dewatering sites and sludge treatment centres only. | The capacity which could be available to trade into this site on a guaranteed basis for at least one year. Assume that the trade would be a stead amount throughout the year. Capacity available to trade is that which is not used for indigenous sludge and isn’t reserved as operational headroom. Where you have 'floating' tradable capacity which could be based at more than one site and you have little preference as to which it should be delievered from, please enter the site name as 'Floating: ' and the group of sites which it could be delivered from. Do not attribute it separately to those sites in this table, to avoid double counting.
N | 1 to 10 | Financial years. The first year reported should correspond to the data reported in the rest of this spreadsheet. The other columns relate to the following nine years. The intention is that companies report a rolling-series of ten-year projections. NB: This table collects information on your current and forecast headroom at each bioresources site. Capacity is in tonnes dry solids input to the site in any form (liquid or cake). Include dewatering sites and sludge treatment centres only. | The maximum amount of sludge you would realistically expect to be able to treat in the year, if an unlimited amount of sludge was available. Assume your usual digester retention time for each site. Include capacity which could be released if you increased working hours. If you schedule a certain amount of site downtime, remove this from the total capacity. Also remove any allowance you make for unplanned downtime.
O | 1 to 10 | Financial years. The first year reported should correspond to the data reported in the rest of this spreadsheet. The other columns relate to the following nine years. The intention is that companies report a rolling-series of ten-year projections. NB: This table collects information on your current and forecast headroom at each bioresources site. Capacity is in tonnes dry solids input to the site in any form (liquid or cake). Include dewatering sites and sludge treatment centres only. | Companies can indicate any shortfall in desired capacity for each site here. Where a shortfall is not associated with any particular site, please enter one or more lines at the bottom of the table with the site name 'Floating - ' and the group of sites it could be delivered from. Do not attribute it separately to those sites in this table, to avoid double counting. It is a shortfall in desired capacity, because the intention is to indicate the possible market opportunity for participants to meet a demand for additional capacity. It is possible to have both headroom capacity and a shortfall. For example, - company A might consider it needs headroom of 2,000 TDS. It has actual headroom of 1,000 TDS. It therefore enters a shortfall of 1,000 TDS; - company B might consider it needs headroom of 2,000 TDS, but has none. If therefore enters a shorfall of 2,000 TDS; - company C might project sludge production exceeding its total capacity by 1,000 TDS. It considers it needs headroom above production of 2,000 TDS. It therefore enters as shortfall of 3,000 TDS.
Section | Col no | Small WwTW*
A | 1 | WwTW site name | The name of the wastewater treatment works, and if not otherwise clear, the town it serves.
| 2 | WwTW latitidue (grid ref) | Identifying location to at least 5 digits
| 3 | WwTW longitude (grid ref) | Identifying location to at least 5 digits
| 4 | Unique Asset ID | This is a unique ID to identify the site. The unique ID should be consistent across years. If an asset becomes inactive (for example moth balled/ closed down) then its ID should not be reassigned to a new asset later. If a site is listed as a WWTW co-located with an STC then it should have two unique ID’s, one for the WWTW tab and one in the STC tab so the two functions of the asset can be identified individually.
B | 1 | Quantity of raw sludge produced per year | An indication of the quantity of sludge produced in dry tonnes of solids per year. Please note this is dry tonnes and not wet tonnes. All sites of this size are likely to produce <70 tonnes per year and this is the default data entry for this column unless the wastewater company is able to provide a more accurate quantity. The list of sites should include only those where sludge leaves the assets which fall under the network plus price control i.e. do not list small sites where sludge is taken to the inlet of a larger wastewater treatment works for settlement in the larger site’s facilities. At the larger sites the total sludge produced through indigenous and imported means must be provided. This information is to provide an indicatation of the size of the market opportunity the site represents. NB: To produce 70 tonnes per annum a 2000 population site would be producing 95g/person/day (which is higher than average)
| 2 | WwTW classification | See the table of classifications below. This information is to provide an indication of the quality of sludge.
* for sites serving less than 2000 population equivalent. Please note that any sewage works that is intermittently emptied by tankering the contents to the start of another larger sewage treatment works should not be included in this list.
|  | WwTW classification | Wastewater treatment type
|  | P | Primary settlement only.
|  | CSAS | Crude sewage activated sludge (i.e. no primary sludge is generated).
|  | SB | Secondary Biological filtration - trickling filters, RBCs etc. Sludge produced will be a mixture of primary and secondary sludge.
|  | SAS | Secondary Activated sludge. Sludge produced will be a mixture of primary and secondary sludge.
|  | Cphos | Phosphorus removal via chemical dosing.
|  | Bphos | Phosphorus removal through biological nutrient removal.
Please note that sites may have more than one code, for example "SB Cphos" would be a secondary filtration site with chemical phosphorus removal
Section | Col no | Contracts**
A | 1 | Contract Reference | This reference should be the same as that used in other public documentation such as OJEU information. This information is to help readers follow up on additional published contract information if they wish to.
| 2 | Contract title | A brief description of services contracted.
B | 1 | Description of service | To indicate scope of service contracted: transport, treatment, recycling, disposal, a combination of these or another service. This information is to help market participants understand if there are remaining opportunities beyond the scope of the contract.
| 2 | Scale of contracted activity | Quantities contracted. This must be given in units that are appropriate to the service reported (e.g Tonnes dry solids per year, m3 per month or any other appropriate units). It should also be given in a suitable range to allow market participants to understand the scale activity. This information is to help market participants understand the scale of contracts already let.
C | 1 | Contract start date | Month and year the contract started. This information is to help market participants understand the timing of contracts already let.
| 2 | Contract end date | Month and year the contract is due to complete. This information is to help market participants understand the timing of contracts already let.
| 3 | Term of contract | This must include any terms of the contract that give market participants an indication when they may be able to compete to provide the contracted services, including duration, extensions and break clauses, but not price. This information is to help market participants understand the timing of contracts already let.
| 4 | Other | This must include a description of the services in more detail, including geographical area covered.
** Contract definition: this table should include contract information on services that are provided by a third party on its own bioresource service (treatment, transport and/or recycling service). It should not include contract information where the company is providing a bioresource service to other companies on its sludge production and not to include information relating to the supply of services to other companies. Contract information should not include contracts for bioresources related “goods” (for example chemical supplies), or outsourcing contracts where the company retains full control of the bioresources service (for example, regular equipment maintenance contracts). The focus of the market information is where companies are contracting with third parties to provide a complete transport, treatment and/or recycling service. Contract information should include joint ventures, including those where the company is part of the joint venture. This will enable third parties to understand the market opportunities that are currently available.
*** Further explanation relating to companies' transport information |  |  | These tables collect information on your company's main sludge transport routes. They collect the immediate destination from each site and not the final destination. So if a WWTW transports to a dewatering site which then transports to a sludge treatment centre, the WWTW's destination in this table is the dewatering site. It is important that the names of the sites in columns 1 and 4 are identical to those used elsewhere.

## Dropdowns
Measured/Estimated | Yes/No | Modes: | Type of site | Type of treatment
Measured | Yes | Road - liquid | Thickening centre | Liming
Estimated | No | Road - raw cake | Dewatering centre | Conventional AD
| NA | Road - treated cake | Treatment centre | Advanced AD
|  | Pipeline | Incinerator | Other
Other